| COMPETENCY-BASED CURRICULUM |  |
| --- | --- |

| Sector: HEALTH, SOCIAL AND OTHER COMMUNITY DEVELOPMENT SERVICES |
| --- |
| Qualification: BIOMEDICAL EQUIPMENT SERVICING NC II |
|  | Technical Education and Skills Development Authority East Service Road, South Superhighway, Taguig City, Metro Manila |

TABLE OF CONTENTS

Page

A. Course Design	1-5

B. Modules of Instruction	6-73

  - BASIC COMPETENCIES MODULES	6

  - Participating in workplace communication	7-10

  - Working in a team environment	11-13

  - Practicing career professionalism	14-17

  - Practicing occupational health and safety procedures	18-22

  - COMMON COMPETENCIES MODULES	23

  - Implementing and monitor infection control policies and procedures	24-27

  - Responding effectively to difficult/challenging behavior	28-30

  - Applying basic first aid	31-34

  - Maintaining high standards of patient services	35-39

  - CORE COMPETENCIES MODULES	40

  - Installing biomedical equipment	41-46

  - Performing corrective maintenance on biomedical equipment	47-56

  - Performing preventive maintenance on biomedical equipment	57-64

  - Repairing biomedical equipment	65-69

  - Assessing and referring biomedical equipment	70-73

COURSE DESIGN

COURSE TITLE	: 	BIOMEDICAL EQUIPMENT SERVICING NC II

NOMINAL DURATION	:	 960 hours

COURSE DESCRIPTION	:

This course is designed to enhance the knowledge, skills and attitudes of biomedical equipment servicing in accordance with industry standards. It covers basic, common and core competencies in NC II.

ENTRY REQUIREMENTS:

Trainees or students should possess the following requirements:

- 16 years old and above

- must pass the trainability / aptitude test

- can communicate both orally and in written form

- physically,  emotionally, and mentally fit

- can perform basic mathematical computation

This list does not include specific institutional requirements such as educational attainment, appropriate work experience, and others that may be required of the trainees by the school or training center delivery this TVET program.

COURSE STRUCTURE:

# BASIC COMPETENCIES

(26 hours)

| Units of Competency | Module Title | Learning Outcomes | Nominal Duration |
| --- | --- | --- | --- |
| 1. Participate in workplace communication | 1.1 Participating in workplace communication | Obtain and convey workplace information Complete relevant work-related documents Participate in workplace meeting and discussion | 4 hours |
| 2. Work in a team environment | 2.1 Working in a team environment | Describe and identify team role and responsibility Describe work as a team member | 4 hours |
| 3. Practice career professionalism | 3.1 Practicing career professionalism | Integrate personal objectives with organizational goals. Set and meet work priorities. Maintain professional growth and development. | 6 hours |
| 4. Practice occupational health and safety procedures | 4.1 Practicing occupational health and safety procedure | Identify hazards and risks. Evaluate hazards and risks. Control hazards and risks. Maintain occupational health and safety awareness. | 12 hours |

# COMMON COMPETENCIES

(44 hours)

| Units of Competency | Module Title | Learning Outcomes | Nominal Duration |
| --- | --- | --- | --- |
| 1. Implement and monitor infection control policies and procedures | 1.1 Implementing and monitoring infection control policies and procedures | Provide information to the work group about the organization’s infection control policies and procedures Integrate the organization’s infection control policy and procedure into work practices. Monitor infection control performance and implement improvements in practices. | 12 hours |
| 2. Respond effectively to difficult/ challenging behavior | 2.1 Responding effectively to difficult/ challenging behavior | Plan and respond to emergencies Report and review incidents | 10 hours |
| 3. Apply basic first aid | 3.1 Applying basic first aid | Assess the situation Apply basic first aid techniques Communicate details of the incident/event | 12 hours |
| 4. Maintain high standard of patient services | 4.1 Maintaining high standard of patient services | Communicate appropriately with patients Establish and maintain good interpersonal relationship with clients/patients Act in a respectful manner at all times Evaluate own work to maintain high standard of patient services | 10 hours |

# CORE COMPETENCIES

(890 hours)

| Units of Competency | Module Title | Learning Outcomes | Nominal Duration |
| --- | --- | --- | --- |
| 1. Install biomedical equipment | 1.1 Installing biomedical equipment | Interpret work instructions Install instrumentation and control devices Test installed instrumentation and control devices | 150 hours |
| 2. Perform corrective maintenance on biomedical equipment | 2.1 Performing corrective maintenance on biomedical equipment | Respond to customer service request Prepare unit/equipment Diagnose faults Repair basic biomedical equipment Reassemble and test repaired unit Re-commission basic biomedical equipment Perform and maintain basic biomedical equipment corrective maintenance documentation. | 250 hours |
| 3. Perform preventive maintenance on biomedical equipment | 3.1 Performing preventive maintenance on biomedical equipment | Prepares preventive maintenance protocol Implements preliminary preventive maintenance protocol Perform electrical safety testing Perform basic biomedical equipment functional test. Check and perform basic biomedical equipment calibration Re-commission basic biomedical equipment Perform and maintain basic biomedical equipment preventive maintenance documentation. | 200 hours |
| 4. Repair biomedical equipment | 4.1 Repairing biomedical equipment | Inspect equipment for repair Plan and prepare for repair Repair equipment Inspect the test equipment | 230 hours |
| 5. Assess and refer biomedical equipment | 5.1 Assessing and referring biomedical equipment | Plan and prepare Assess faults / defects Refer for re-assessment/ repair | 60 hours |

ASSESSMENT METHODS:

- Observation

- Demonstration

- Practical examination

- Third party report

- Lecture/discussion

COURSE DELIVERY:

- Modular- self paced learning

- Lecture/ discussion

- Demonstration

- Dual training

RESOURCES:

| TOOLS | EQUIPMENT | MATERIALS |
| --- | --- | --- |
| Pliers; (assorted) Screwdrivers; (assorted) Soldering iron/gun Electric hand drill and assorted bits Alligator clip with wire De-soldering tool Wrenches (assorted) Cleaning brush Power supply (variable) Work bench Hammer (shock less/ mechanical) Breadboard Tester analog/digital Oscilloscope Signal generator Integrated circuit extractor | Microscope Medical Refrigerator/freezer ECG machine Clinical weighing scale Defibrillator EENT diagnostic set Gooseneck lamp/ Examining light Laryngoscope with blades Oxygen unit Sphygmomanometer Suction apparatus Anesthesia machine Autoclave OR/DR light OR table Infant incubator Clinical incubator Nebulizer Heart/Lung machine Cardiac monitor Circoelectric bed Centrifuge | Electronic devices assorted Soldering lead Sealing materials Work clothes Hand gloves Goggles mask Tape (assorted) Oil, cleaning agent |

TRAINER’S QUALIFICATIONS:

- Must be a certified electrical, electronic technician with background/orientation on health care/services

- Must have undergone training in Training Methodology II (TM II)

- Must be physically, emotionally, and mentally fit

- Must possess good moral character

- Must have at least 2 years experience in the health service industry

MODULES OF INSTRUCTION

BASIC COMPETENCIES

BIOMEDICAL EQUIPMENT SERVICING NC II

BASIC COMPETENCY	:	PARTICIPATE IN WORKPLACE COMMUNICATIONS

MODULE TITLE	:	PARTICIPATING IN WORKPLACE COMMUNICATIONS

MODULE DESCRIPTOR	: 	This module covers the knowledge, skills and attitudes required to obtain, interpret and convey information in response to workplace requirements.

NOMINAL DURATION	:	4 hours

QUALIFICATION LEVEL	:	NC II

PREREQUISITE	:	Receive and Respond to Workplace Communication. (NCI)

SUMMARY OF LEARNING OUTCOMES:

Upon completion of this module, the students/ trainees must be able to:

# LO1.	Obtain and convey workplace information

LO2.	Complete relevant work related documents.

LO3.	Participate in workplace meeting and discussion.

LO1.	OBTAIN AND CONVEY WORKPLACE INFORMATION

ASSESSMENT CRITERIA:

1.	Specific relevant information is accessed from appropriate sources.

2.	Effective questioning and active listening and speaking are used to gather and convey information.

3.	Appropriate medium is used to transfer information and ideas.

4.	Appropriate non-verbal communication is used.

5.	Appropriate lines of communication with superiors and colleagues are identified and followed.

6.	Defined work procedures for the location and storage of information are used.

7.	Personnel interaction is carried out clearly and concisely.

CONTENTS:

- Parts of speech

- Sentence construction

- Effective communication

CONDITIONS:

The students/trainees must be provided with the following:

- Writing materials (pen and paper)

- References (books)

- Manuals

METHODOLOGIES:

- Group discussion/interaction

- Assignment method

- Competency-based learning materials method

ASSESSMENT METHODS:

- Written test

- Practical performance test

- Interview

LO2.	COMPLETE RELEVANT WORK RELATED DOCUMENTS

ASSESSMENT CRTERIA:

1.	Ranges of forms relating to conditions of employment are completed accurately and legibly.

2.	Workplace data is recorded on standard workplace forms and documents.

4.	Basic mathematical process is used for routine calculations.

5.	Errors in recording information on forms. Documents are identified and rectified.

5.	Reporting requirements to superior are completed according to enterprise guidelines.

CONTENTS:

- Basic mathematics

- Technical writing

- Types of forms

CONDITIONS:

The students/trainees must be provided with the following:

- Paper

- Pencils/ball pen

- Reference books

- Manuals

METHODOLOGIES:

- Group discussion/interaction

- Assignment method

- Competency-based learning materials method

ASSESSMENT METHODS:

- Written test

- Practical! performance test

- Interview

LO3.	PARTICIPATE IN WORKPLACE MEETING AND DISCUSSION

ASSESSMENT CRITERIA:

1.	Team meetings are attended on time.

2.	Own opinions are clearly expressed and those of others are listened to without interruption.

3.	Meeting inputs are consistent with the meeting purpose and establish protocols.

4.	Workplace interaction are conducted in a courteous manner appropriate to cultural background and authority in the enterprise procedures.

5.	Questions about simple routine workplace procedures and matters concerning conditions of employment are asked and responded.

6.	Meeting outcomes are interpreted and implemented.

CONTENTS:

- Sentence construction

- Technical writing

- Recording information

CONDITIONS:

The students/trainees must be provided with the following:

- Paper

- Pencils/ball pen

- References (books)

- Manuals

METHODOLOGIES:

- Group discussions/interaction

- Assignment method

- Competency-based learning materials method

ASSESSMENT METHODS:

- Written test

- Practical/performance test

- Interview

BASIC COMPETENCY	:	WORK IN A TEAM ENVIRONMENT

MODULE TITLE	:	WORKING IN A TEAM ENVIRONMENT

MODULE DESCRIPTOR	:	This module covers the knowledge, skills, and attitudes required in order to relate in a work-based environment.

NOMINAL DURATION	:	4 hours

QUALIFICATION LEVEL	:	NC II

PREREQUISITE	:	TEAMWORK (NC I)

SUMMARY OF LEARNING OUTCOMES:

Upon completion of this module the students/ trainees must be able to:

LO1.   Describe and identify team role and responsibility in a team.

LO2.   Describe work as a team.

LO1.	DESCRIBE AND IDENTIFY TEAM ROLE AND RESPONSIBILITY IN A TEAM

ASSESSMENT CRITERIA:

1.	Role and objective of the team is identified.

2.	Team parameters, relationships and responsibilities are identified.

3.	Individual role and responsibilities within team environment are identified.

4.	Roles and responsibilities of other team members are identified and recognized.

5.	Reporting relationships within team and external to team are identified.

CONTENTS:

- Team role.

- Relationship and responsibilities

- Role and responsibilities with team environment.

- Relationship within a team.

CONDITIONS:

The students/ trainees must be provided with the following:

- SOP of workplace

- Job procedures

- Client/ supplier instructions

- Quality standards

- Organizational or external personnel

METHODOLOGIES:

- Group discussion/interaction

- Case studies

- Simulation

ASSESSMENT METHODS:

- Written test

- Observation

- Simulation

- Role playing

###### LO2.	DESCRIBE WORK AS A TEAM MEMBER

ASSESSMENT CRITERIA:

1.	Appropriate forms of communication and interactions are undertaken.

2.	Appropriate contributions to complement team activities and objectives were made.

3.	Reporting using standard operating procedures followed.

4.	Development of team work plans based from role of team are contributed.

CONTENTS:

- Communication process

- Team structure / team roles

- Group planning and decision making

CONDITIONS:

The students/ trainees must be provided with the following:

- SOP of workplace

- Job procedures

- Organization or external personnel

METHODOLOGIES:

- Group discussion/interaction

- Case studies

- Simulation

ASSESSMENT METHODS:

- Observation of work activities

- Observation through simulation or role play

- Case studies and scenarios.

BASIC COMPETENCY	:	PRACTICE CAREER PROFESSIONALISM

MODULE TITLE	: 	PRACTICING CAREER PROFESSIONALISM

MODULE DESCRIPTOR	: 	This module covers the knowledge, skills and attitudes in promoting career growth and advancement, specifically; to integrate personal objectives with organizational goals set and meet work priorities and maintain professional growth and development.

NOMINAL DURATION	:	6 hours

QUALIFICATION LEVEL	:	NC II

SUMMARY OF LEARNING OUTCOMES:

Upon completion of this module, the trainee/student must be able to:

LO1.	Integrate personal objectives with organizational goals

LO2.	Set and meet work priorities

LO3.	Maintain professional growth and development

###### LO1.	INTEGRATE PERSONAL OBJECTIVES WITH ORGANIZATIONAL GOALS

ASSESSMENT CRITERIA:

1.	Personal growth and work plans towards improving the qualifications set for professionalism are achieved.

2.	Intra- and interpersonal relationship in the course of managing oneself based on performance evaluation is maintained.

3.	Commitment to the organization and its goal is demonstrated in the performance of duties.

4.	Practice of appropriate personal hygiene is observed.

5.	Job targets within key result areas are attained.

CONTENTS:

- Personal development-social aspects: intra and interpersonal development

- Organizational goals

- Personal hygiene and practices

- Code of ethics

CONDITIONS:

The students/ trainees must be provided with the following:

- Workplace

- Code of ethics

- Organizational goals

- Hand outs and PD social aspects

- CD’s, VHS tapes, transparencies

METHODOLOGIES:

- Group discussion/interaction

- Simulation

- Demonstration/practical hands-on exercises

- Competency-based learning materials method

ASSESSMENT METHODS:

- Role play

- Interview

- Written examination

###### LO2.	SET AND MEET WORK PRIORITIES

ASSESSMENT CRITERIA:

1.	Competing demands to achieve personal, team and organizational goals and objectives are prioritized.

2.	Resources are utilized efficiently and effectively to manage work priorities and commitments.

3.	Practices and economic use and maintenance of equipment and facilities are followed as per established procedures.

4.	Job targets within key result areas are attained.

CONTENTS:

- Organizational KRAs

- Work values and ethical standards

- Company policies on the use and maintenance of equipment

CONDITIONS:

#### The students/ trainees must be provided with the following

- Organizational KRA

- Work values and ethics

- Company policies and standards

- Sample job targets

- Learning guides

- CD’s, VHS tapes, transparencies

METHODOLOGIES:

- Group discussion/interaction

- Structured activity

- Demonstration/practical hands-on exercises

- Competency-based learning materials method

ASSESSMENT METHODS:

- Role play

- Interview

- Written examination

###### LO3.	MAINTAIN PROFESSIONAL GROWTH AND DEVELOPMENT

ASSESSMENT CRITERIA:

- Training and career opportunities relevant to the job requirements are identified and availed.

- Licenses and/or certifications according to the requirements of the qualifications are acquired and maintained

- Fundamental rights at work including gender sensitivity are manifested/observed

- Training and career opportunities based on the requirements of industry are completed and updated.

CONTENTS:

- Qualification standards

- Gender and development (GAD) sensitivity

- Professionalism in the workplace

- List of professional licenses

CONDITIONS:

The students/ trainees must be provided with the following:

- Quality standards

- GAD handouts

- CD’s, VHS tapes on professionalism in the workplace

- Professional licenses samples

METHODOLOGIES:

- Group discussion/interaction

- Film viewing

- Role play/simulation

ASSESSMENT METHODS:

- Demonstration

- Interview

- Written examination

- Portfolio assessment

BASIC COMPETENCY	:	PRACTICE OCCUPATIONAL HEALTH AND SAFETY PROCEDURES

MODULE TITLE	:	PRACTICING OCCUPATIONAL HEALTH AND SAFETY PROCEDURES

MODULE DESCRIPTOR	:	This module covers the knowledge, skills and attitudes required to comply with the regulatory and organizational requirements for occupational health and safety such as identifying, evaluating and maintaining OH and S awareness.

NOMINAL DURATION	:	12 hours

QUALIFICATION LEVEL	:	NC II

SUMMARY OF LEARNING OUTCOMES:

Upon completion of this module, the trainee/student must be able to:

LO1.	Identity hazards and risks

LO2.	Evaluate hazards and risks

LO3.	Control hazards and risks

LO4.	Maintain occupational health and safety awareness

###### LO1.	IDENTIFY HAZARDS AND RISKS

ASSESSMENT CRITERIA:

1.	Workplace hazards and risks are identified and clearly explained.

2.	Hazards/Risks and its corresponding indicators are identified in with the company procedures.

3.	Contingency measures are recognized and established in accordance with organizational procedures.

CONTENTS:

- Hazards and risks identification and control

- Organizational safety and health protocol

- Threshold limit value (TLV)

- OHS indicators

CONDITIONS:

The students/ trainees must be provided with the following:

- Workplace

- PPE

- Learning guides

- Handouts

- Organizational safety and health protocol

- OHS Indicators

- Threshold limit value

- Hazards/risk identification and control

- CD’s, VHS tapes, transparencies

METHODOLOGIES:

- Group discussion/interaction

- Simulation

- Symposium

- Group dynamics

ASSESSMENT METHODS:

- Situation analysis

- Interview

- Practical examination

- Written examination

# LO2.	EVALUATE HAZARDS AND RISKS

ASSESSMENT CRITERIA:

1.	Terms of maximum tolerable limits are identified based on threshold limit values (TLV)

2.	Effects of hazards are determined.

3.	OHS issues and concerns are identified in accordance with workplace requirements and relevant workplace OHS legislation.

CONTENTS:

- TLV table

- Phil OHS standards

- Effects of hazards in the workplace

- Ergonomics

- Employees compensation commission (ECC) regulations

CONDITIONS:

## The students/trainees must be provided with the following:

- Handout on

  - Philippine occupational health and safety (OHS) Standards

  - Effects of hazards in the workplace

  - Ergonomics

  - ECC regulations

- TLV Table

- CD’s, VHS tapes, transparencies

METHODOLOGIES:

- Group discussion/interaction

- Situation analysis

- Symposium

- Film viewing

- Group dynamics

ASSESSMENT METHODS:

- Interview

- Written examination

- Simulation

###### LO3.	CONTROL HAZARDS AND RISKS

ASSESSMENT CRITERIA:

1.	OHS procedures for controlling hazards and risk are strictly followed.

2.	Procedures in dealing with workplace accidents, fire and emergencies are followed in accordance with the organization’s OHS policies.

3.	Personal protective equipment is correctly used in accordance with organization’s OHS procedures and practices.

4.	Procedures in providing appropriate assistance in the event of workplace emergencies are identified in line with the established organizational protocol.

CONTENTS:

- Safety regulations

- Clean air act

- Electrical and fire safety code

- Waste management

- Disaster preparedness and management

- Contingency measures and procedures

CONDITIONS:

### The students/trainees must be provided with the following:

- Handouts on

  - Safety regulations

  - Clean air act

  - Electrical and fire safety code

  - Waste management

  - Disaster preparedness and management

  - Contingency measures and procedures

  - OHS personal records

- PPE

- CD’s, VHS tapes, transparencies

METHODOLOGIES:

- Group discussion/interaction

- Symposium

- Film viewing

- Group dynamics

- Self pace

ASSESSMENT METHODS:

- Written

- Interview

- Case/situation analysis

- Simulation

###### LO4.	MAINTAIN OCCUPATIONAL HEALTH AND SAFETY AWARENESS

ASSESSMENT CRITERIA:

1.	Procedures in emergency related drill are strictly followed in line with the established organization guidelines and procedures.

2.	OHS personal records are filled up in accordance with workplace requirements.

3.	PPE are maintained in line with organization guidelines and procedures.

CONTENTS:

- Operational health and safety procedure, practices and regulations

- Emergency-related drills and training

CONDITIONS:

## The students/trainees must be provided with the following:

- Workplace

- PPE

- OHS personal records

- CD’s, VHS tapes, transparencies

- Health record

METHODOLOGIES:

- Group discussion/interaction

- Simulation

- Symposium

- Film viewing

- Group dynamics

ASSESSMENT METHODS:

- Demonstration

- Interview

- Written examination

- Portfolio assessment

MODULES OF INSTRUCTION

COMMON COMPETENCIES

BIOMEDICAL EQUIPMENT SERVICING NC II

# UNIT OF COMPETENCY	: 	IMPLEMENT AND MONITOR INFECTION CONTROL POLICIES AND PROCEDURES

# MODULE TITLE	: 	IMPLEMENTING AND MONITORING INFECTION CONTROL POLICIES AND PROCEDURES

MODULE DESCRIPTION	: 	This module is concerned with infection control responsibilities of employees with supervisory accountability to implement and monitor infection control policy and procedures in a specific work unit or team within an organization. This module does not apply to a role with organization-wide responsibilities for infection control policy and procedure development, implementation or monitoring.

NOMINAL DURATION	:  	12 hours

QUALIFICATION LEVEL	:	NC II

SUMMARY OF LEARNING OUTCOMES:

Upon completion of this module, the trainee/student must be able to:

LO1.	Provide information to the work group about the organization’s infection control policies and procedures

LO2.	Integrate the organization’s infection control policy and procedure into work practices

#### LO3.	Monitor infection control performance and implement improvements in practices

LO1. 	PROVIDE INFORMATION TO THE WORK GROUP ABOUT THE ORGANIZATION’S INFECTION CONTROL POLICIES AND PROCEDURES

ASSESSMENT CRITERIA:

#### 1.	Relevant information about the organization’s infection control policy and procedures, and applicable industry codes of practice are accurately and clearly explained to the work group.

2.	Information about identified hazards and the outcomes of infection risk assessments is regularly provided to the work group.

3.	Opportunity is provided for the work group to seek further information on workplace infection control issues and practices.

CONTENT:

- Infection control policy and procedures and relevant industry codes of practice

CONDITIONS:

Students/trainees must be provided with the following:

- Workplace location

- Tools and equipment appropriate to schedule housekeeping activities and to monitor and maintain working condition

- Material relevant to the proposed activity and tasks

METHODOLOGIES:

- Lecture/discussion

- Group discussion

- Demo return demo

- Film viewing

- Surface learning

ASSESSMENT METHODS:

- Written exam

- Interview/ oral exam

- Practical exam

- Direct observation

LO2.	INTEGRATE THE ORGANIZATION’S INFECTION CONTROL POLICY AND PROCEDURE INTO WORK PRACTICES

ASSESSMENT CRITERIA:

#### 1.	Infection control policy and procedures are implemented by supervisor and members of the work group.

2.	Liaison is maintained with person responsible for organization-wide infection control.

3.	The supervisor’s coaching support ensures that individuals/teams are able to implement infection control practices.

4.	Work procedures are adopted to reflect appropriate infection control practice.

5.	Issues raised through consultation are dealt with and resolved promptly or referred to the appropriate personnel for resolution.

6.	Workplace procedures for dealing with infection control risks and hazardous events are implemented whenever necessary.

7.	Employees are encouraged to report infection risks and to improve infection control procedures.

CONTENTS:

- Infection control policy and procedures

- Management systems and procedures for infection control.

- Transmission and control of Communicable diseases

- Risk control measures

CONDITIONS:

Students/trainees must be provided with the following:

- Workplace location

- Tools and equipment appropriate to schedule housekeeping activities and to monitor and maintain working condition

- Material relevant to the proposed activity and tasks

METHODOLOGIES:

- Lecture/discussion

- Group discussion

- Demo return demo

- Film viewing

- Surface learning

ASSESSMENT METHODS:

- Written exam

- Interview/ oral exam

- Practical exam

- Direct observation

#### LO3.	Monitor infection control performance and implement improvements in practices

ASSESSMENT CRITERIA:

#### 1.	Infection control hazardous events are investigated promptly to identify their cause in accordance with organization policy and procedures.

#### 2.	Work procedures to control infection risks are monitored to ensure compliance.

#### 3.	Work procedures are regularly reviewed and adjusted to ensure improvements in infection control practice.

#### 4.	Supervisor provides feedback to team and individuals on compliance issues, changes in work procedures and infection control outcomes.

#### 5.	Training in work procedures is provided as required to ensure maintenance of infection control standards.

#### 6.	Inadequacies in work procedures and infection control measures are identified, corrected or reported to designated personnel.

#### 7.	Records of infection control risks and incidents are accurately maintained as required.

#### 8.	Aggregate infection control information reports are used to identify hazards, to monitor an improve risk control methods and to indicate training needs.

CONTENTS:

- Organizational procedures for monitoring and training.

- Basic understanding of communicable disease transmission.

CONDITIONS:

Students/trainees must be provided with the following:

- Workplace location

- Tools and equipment appropriate to schedule housekeeping activities and to monitor and maintain working condition

- Material relevant to the proposed activity and tasks

METHODOLOGIES:

- Lecture/discussion

- Group discussion

- Demo return demo

- Film viewing

- Surface learning

ASSESSMENT METHODS:

- Written exam

- Interview/ oral exam

- Practical exam

- Direct observation

# UNIT OF COMPETENCY	: 	RESPOND EFFECTIVELY TO DIFFICULT/CHALLENGING BEHAVIOR

# MODULE TITLE	: 	RESPONDING EFFECTIVELY TO DIFFICULT/CHALLENGING BEHAVIOR

MODULE DESCRIPTION	: 	This module covers the knowledge, skills and attitudes to effectively respond to difficult or challenging behavior of patient.

NOMINAL DURATION	:  	10 hours

QUALIFICATION LEVEL	:	NC II

SUMMARY OF LEARNING OUTCOMES:

Upon completion of this module, the trainee/student must be able to:

LO1.	Plan and respond to emergencies

#### LO2.	Report and review incidents

LO1. 	Plan AND responD TO EMERGENCIES

ASSESSMENT CRITERIA:

#### 1.	Responses are planned to instances of difficult or challenging behavior to maximize the availability of other appropriate staff and resources.

#### 2.	Specific manifestations of difficult or challenging behavior are identified and strategies appropriate to these behaviors are planned as required.

3.	Safety of self and others is given priority in responding to difficult or challenging behavior according to institutional policies and procedures.

CONTENTS:

- OSH and issues relating to difficult and challenging behavior

- Institutional policies, procedures and strategies in dealing with difficult and challenging behavior

CONDITIONS:

Students/trainees must be provided with the following:

- Workplace location

- Tools and equipment appropriate to schedule the activities

- Material relevant to the proposed activity and tasks

METHODOLOGIES:

- Lecture/discussion

- Group discussion

- Demo return demo

- Film viewing

- Surface learning

ASSESSMENT METHODS:

- Written exam

- Interview/ oral exam

- Practical exam

- Direct observation

#### LO2.	Report and review incidents

ASSESSMENT CRITERIA:

1.	Incidents are reported according to institutional polices and procedures.

2.	Incidents are reviewed with appropriate staff and suggestions appropriate to area of responsibility are made.

3.	Debriefing mechanisms and other activities are used and participated in.

4.	Advice and assistance is sought from legitimate sources when appropriate.

CONTENTS:

- Instructions and guidance of health professionals involved with the care of patient

- Institutional polices and procedures in reporting and reviewing incidents

CONDITIONS:

Students/trainees must be provided with the following:

- Workplace location

- Tools and equipment appropriate to schedule the activities

- Material relevant to the proposed activity and tasks

METHODOLOGIES:

- Lecture/discussion

- Group discussion

- Demo return demo

- Film viewing

- Surface learning

ASSESSMENT METHODS:

- Written exam

- Interview/ oral exam

- Practical exam

- Direct observation

# UNIT OF COMPETENCY	: 	APPLY BASIC FIRST AID

# MODULE TITLE	: 	APPLYING BASIC FIRST AID

MODULE DESCRIPTION	: 	This module covers the knowledge, skills and attitudes required to provide an initial response where First Aid is required. In this module it is assumed that the First Aider is working under supervision and/or according to established workplace First Aid procedures and policies.

NOMINAL DURATION	:  	12 hours

QUALIFICATION LEVEL	:	NC II

SUMMARY OF LEARNING OUTCOMES:

Upon completion of this module, the trainee/student must be able to:

LO1.	Assess the situation

LO2.	Apply basic first aid techniques

#### LO3.	Communicate details of the incident

LO1.	Assess the situation

ASSESSMENT CRITERIA:

#### 1.	Physical hazards to self and casualty’s health and safety are identified.

#### 2.	Immediate risks to self and casualty’s occupational health safety (OSH) are minimized by controlling the hazard in accordance with OSH requirements.

#### 3.	Casualty’s vital signs and physical condition are assessed in accordance with workplace procedures.

CONTENTS:

- Basic anatomy and physiology

- Company standard operating procedures (SOPs)

CONDITIONS:

Students/trainees must be provided with the following:

- Workplace location

- Tools and equipment appropriate to schedule the activities

- Material relevant to the proposed activity and tasks

METHODOLOGIES:

- Lecture/discussion

- Group discussion

- Demo return demo

- Film viewing

- Surface learning

ASSESSMENT METHODS:

- Written exam

- Interview/ oral exam

- Practical exam

- Direct observation

LO2.	Apply basic first aid techniques

ASSESSMENT CRITERIA:

1.	First aid management is provided in accordance with established first aid procedures.

2.	Casualty is reassured in a caring and calm manner and made comfortable using available resources.

3.	First aid assistance is sought from others in a timely manner and as appropriate.

4.	Casualty’s condition is monitored and responded to in accordance with effective first aid principles and workplace procedures.

5.	Details of casualty’s physical condition, changes in conditions, management and response are accurately recorded in line with organizational procedures.

6.	Casualty management is finalized according to his/her needs and First aid principles.

CONTENTS:

- Basic anatomy and physiology

- Dealing with confidentiality

- Knowledge of the first aiders’ skills limitations

- Consideration of the welfare of the casualty

- Safe manual handling of casualty

CONDITIONS:

Students/trainees must be provided with the following:

- Defibrillation units

- Pressure bandages

- Thermometers

- First aid kit

- Eyewash

- Thermal blankets

- Pocket face masks

- Rubber gloves

- Dressing

- Space device

- Cervical collars

- Workplace location

- Tools and equipment appropriate to schedule housekeeping activities and to monitor and maintain working condition

- Material relevant to the proposed activity and tasks

METHODOLOGIES:

- Lecture/discussion

- Group discussion

- Demo return demo

- Film viewing

- Surface learning

#### LO3.	Communicate details of the incident

ASSESSMENT CRITERIA:

- Appropriate medical assistance is requested using relevant communication media and equipment.

- Details of casualty’s condition and management activities are accurately conveyed to emergency services/relieving personnel.

- Reports to supervisors are prepared in a timely manner, presenting all relevant facts according to established company procedures.

CONTENTS:

- OSH legislation and regulations

- Safe manual handling of casualty

- Report preparation

- Communication skills

CONDITIONS:

Students/trainees must be provided with the following:

- Mobile phone

- Satellite phones

- HF/VHF radio

- Flags

- Flares

- Two-way radio

- Email

- Electronic equipment

- Workplace location

- Tools and equipment appropriate to schedule the activities

- Material relevant to the proposed activity and tasks

METHODOLOGIES:

- Lecture/discussion

- Group discussion

- Demo return demo

- Film viewing

- Surface learning

ASSESSMENT METHODS:

- Written exam

- Interview/ oral exam

- Practical exam

- Direct observation

# UNIT OF COMPETENCY	: 	MAINTAIN HIGH STANDARDS OF PATIENT SERVICES

# MODULE TITLE	: 	MAINTAINING HIGH STANDARDS OF PATIENT SERVICES

MODULE DESCRIPTION	: 	This module covers the knowledge, skills and attitudes required in the maintenance of high standards of patient services.

NOMINAL DURATION	:  	10 hours

QUALIFICATION LEVEL	:	NC II

SUMMARY OF LEARNING OUTCOMES:

Upon completion of this module, the trainee/student must be able to:

LO1.	Communicate appropriately with patients

LO2.	Establish and maintain good interpersonal relationship with patients

#### LO3.	Act in a respectful manner at all times

LO4.	Evaluate own work to maintain a high standard of patient service

LO1. 	Communicate appropriately with patients

ASSESSMENT CRITERIA:

#### 1.	Effective communication strategies and techniques are identified and used to achieve best patient service outcomes.

#### 2.	Complaints are responded to in accordance with organizational policy to ensure best service to patients.

3.	Complaints are dealt with in accordance with established procedures.

4.	Interpreter services are accessed as required.

5.	Action is taken to resolve conflicts either directly, where a positive outcome can be immediately achieved, or by referral to the appropriate personnel.

6.	Participation in work team is constructive and collaborative and demonstrates an understanding of own role.

CONTENTS:

- Roles and responsibilities of self and other workers within the organization

- Dealing with complaints and conflict

CONDITIONS:

Students/trainees must be provided with the following:

- Workplace location

- Tools and equipment appropriate to schedule the activities

- Material relevant to the proposed activity and tasks

METHODOLOGIES:

- Lecture/ discussion

- Group discussion

- Demo return demo

- Film viewing

- Surface learning

ASSESSMENT METHODS:

- Written exam

- Interview/ oral exam

- Practical exam

- Direct observation

LO2.	Establish and maintain good interpersonal relationship with patients

ASSESSMENT CRITERIA:

- Rapport is established to ensure the service is appropriate to and in the best interests of patients.

- Effective listening skills are used to ensure a high level of effective communication and quality of service.

- Patient concerns and needs are correctly identified and responded to responsibility and accordingly established procedures and guidelines.

- Effectiveness of interpersonal interaction is consistently monitored and evaluated to ensure best patient service outcomes.

CONTENTS:

- Listening skills

- Client/patient issues referred to appropriate health professional

CONDITIONS:

Students/trainees must be provided with the following:

- Workplace location

- Tools and equipment appropriate to schedule the activities

- Material relevant to the proposed activity and tasks

METHODOLOGIES:

- Lecture/discussion

- Group discussion

- Demo return demo

- Film viewing

- Surface learning

ASSESSMENT METHODS:

- Written exam

- Interview/ oral exam

- Practical exam

- Direct observation

#### LO3. 	Act in a respectful manner at all times

ASSESSMENT CRITERIA:

- Respect for differences is positively, actively and consistently demonstrated in all work.

- Confidentiality and privacy of patients is maintained.

- Courtesy is demonstrated in all interactions with patients, visitors, carers and family.

- Assistance with the care of patients with challenging behaviors is provided in accordance with established procedures.

- Techniques are used to manage and minimize aggression.

CONTENTS:

- Organizational policies and procedures for privacy and confidentiality of information provided by patients and others

- Procedures in caring of patients with challenging behaviors

- Techniques in managing and minimizing aggression

CONDITIONS:

Students/trainees must be provided with the following:

- Workplace location

- Tools and equipment appropriate to schedule the activities

- Material relevant to the proposed activity and tasks

METHODOLOGIES:

- Lecture/discussion

- Group discussion

- Demo return demo

- Film viewing

- Surface learning

ASSESSMENT METHODS:

- Written exam

- Interview/ oral exam

- Practical exam

- Direct observation

LO4. 	Evaluate own work to maintain a high standard of patient service

ASSESSMENT CRITERIA:

- Advice and assistance is received or sought from appropriate sources on own performance.

- Own work is adjusted, incorporating recommendations that address performance issues, to maintain the agreed standard of patient support.

CONTENTS:

- Cultures relevant to the particular service

- Institutional policy on patient rights and responsibilities

CONDITIONS:

Students/ trainees must be provided with the following:

- Workplace location

- Tools and equipment appropriate to schedule the activities

- Material relevant to the proposed activity and tasks

METHODOLOGIES:

- Lecture/ discussion

- Group discussion

- Demo return demo

- Film viewing

- Surface learning

ASSESSMENT METHODS:

- Written exam

- Interview/ oral exam

- Practical exam

- Direct observation

MODULES OF INSTRUCTION

CORE COMPETENCIES

BIOMEDICAL EQUIPMENT SERVICING NC II

UNIT OF COMPETENCY	:	INSTALL BIOMEDICAL EQUIPMENT

MODULE TITLE	:	INSTALLING BIOMEDICAL EQUIPMENT

MODULE DESCRIPTOR	:	This module covers the knowledge, skills and attitudes necessary to install biomedical equipment related to patient care.

NOMINAL DURATION	:	150 hours

QUALIFICATION LEVEL	:	NC II

SUMMARY OF LEARNING OUTCOMES

Upon completion of the module the trainees/students must be able to:

LO1.	Interpret work instructions

LO2.	Install instrumentation and control devices

LO3.	Test installed instrumentation and control devices

LO1.	INTERPRET WORK INSTRUCTIONS

ASSESSMENT CRITERIA:

- Work instructions are read and interpreted to determine job requirements

- Tools and testing devices needed to carry out the installation work are selected and checked for correct operation and safety.

- Materials necessary to complete the work are obtained

CONTENTS:

- Specifications and proper use of tools

- Basic concepts and principles in electronics and electricity

- Clinical application of equipment/instruments/tools

- Drawing interpretation

- Reading skills required to interpret work instructions, diagrams, schematics

- Communication skills

CONDITIONS:

The student/trainees must be provided with the following:

| EQUIPMENT | TOOLS AND ACCESSORIES | SUPPLIES AND MATERIALS | LEARNING MATERIALS |
| --- | --- | --- | --- |
| Weighing scale, infant/adult Suction apparatus OR/DR light Nebulizer Autoclave Infant incubator ECG machine | Pliers (assorted) Screwdrivers; (assorted) Soldering gun/iron Electric drill and assorted bits Tool kit Wrench and spanners Multi-tester Signal generator - Oscilloscope - Calibrators | Tape (assorted) Sealing materials Cables Wires Soldering lead | Operation manuals Service/ technical manual Installation manual Parts list manual Job report sheets |

METHODOLOGIES:

- Lecture

- Questioning

- On-the-job practice

ASSESSMENT METHODS:

- Observation

- Demonstration

- Third party report

- Return demonstration

LO2.	INSTALL INSTRUMENTATION AND CONTROL DEVICES

ASSESSMENT CRITERIA:

1.	Equipment and components are prepared for correct sequential installation.

2. 	Installation of equipment are followed according to OSH policies and procedures.

3. 	PPE is used according to institution’s requirements

4. 	Electrical cabling and wiring devices of correct loading capacity are selected and safely installed.

5. 	Equipment is installed and without damage to self and others or surrounding place or environment

6. 	Unplanned events or conditions are responded according to company policies and procedures.

CONTENTS:

- Specifications and proper use of tools

- Basic concepts and principles in electronics and electricity

- Clinical application of equipment/instruments/tools

- Drawing interpretation

- Reading skills required to interpret work instructions, diagrams, schematics

- Communication skills

- Occupational safety

- Use of PPE

CONDITIONS:

The student/trainees must be provided with the following:

| EQUIPMENT | TOOLS AND ACCESSORIES | SUPPLIES AND MATERIALS | LEARNING MATERIALS |
| --- | --- | --- | --- |
| Weighing scale, infant/adult Suction apparatus OR/DR light Nebulizer Autoclave Infant Incubator ECG machine | Pliers (assorted) Screwdrivers; (assorted) Soldering gun/iron Electric drill and assorted bits Tool kit Wrench and spanners Multi-tester Signal generator - Oscilloscope - Calibrators | Tape (assorted) Sealing materials Cables Wires Soldering lead | Operation manuals Service/ technical manual Installation manual Parts list manual Job report sheets |

METHODOLOGIES:

- Lecture

- Questioning

- On-the-job practice

ASSESSMENT METHODS:

- Observation

- Demonstration

- Third party report

- Return demonstration

LO3.	TEST INSTALLED INSTRUMENTATION AND CONTROL DEVICES

ASSESSMENT CRITERIA:

- Equipment is tested in accordance with manufacturer’s instructions

- Final inspections are undertaken to ensure that the installed device conforms with manufacturer’s instructions

- Work site is cleaned and cleared of all debris and left safe OSH policies and procedures.

- Electrical report on installation and testing of equipment is prepared and submitted

- Equipment is endorsed to appropriate end user according to institution’s requirements

CONTENTS:

- Specifications and proper use of tools

- Basic concepts and principles in electronics and electricity

- Use of test equipment and/ or instruments

- Clinical application of equipment/instruments/tools

- SOP in testing installed equipment

- Drawing interpretation

- Reading skills required to interpret work instructions, diagrams, schematics

- Report preparation

- Communication skills

- Cleaning of worksite

CONDITIONS:

The student/trainees must be provided with the following:

| EQUIPMENT | TOOLS AND ACCESSORIES | SUPPLIES AND MATERIALS | LEARNING MATERIALS |
| --- | --- | --- | --- |
| Weighing scale, infant/adult Suction apparatus OR/DR light Nebulizer Autoclave Infant incubator ECG machine | Pliers (assorted) Screwdrivers; (assorted) Soldering gun/iron Electric drill and assorted bits Tool kit Wrench and spanners Multi-tester Signal generator - Oscilloscope - Calibrators | Tape (assorted) Sealing materials Cables Wires Soldering lead | Operation manuals Service/ technical manual Installation manual Parts list manual Job report sheets |

METHODOLOGIES:

- Lecture

- Questioning

- On-the-job practice

ASSESSMENT METHODS:

- Observation

- Demonstration

- Third party report

- Return demonstration

UNIT OF COMPETENCY	:	PERFORM CORRECTIVE MAINTENANCE ON BIOMEDICAL EQUIPMENT

MODULE TITLE	: 	PERFORMING CORRECTIVE MAINTENANCE ON BIOMEDICAL EQUIPMENT

MODULE DESCRIPTOR	: 	This module covers the knowledge, skills and attitude required in conducting corrective maintenance

NOMINAL DURATION	: 	250 hours

QUALIFICATION LEVEL	:	NC II

SUMMARY OF LEARNING OUTCOMES

Upon completion of the module the trainees/students must be able to:

LO1.	Respond to customer service request

LO2.	Prepare unit/equipment

LO3.	Diagnose faults

LO4.	Repair basic biomedical equipment

LO5.	Reassemble and test repaired unit

LO6.	Re-commission basic biomedical equipment

LO7.	Perform and maintain basic biomedical equipment corrective maintenance documentation.

LO1.	RESPOND TO CUSTOMER SERVICE REQUEST

ASSESSMENT CRITERIA:

- Appropriate request form is received from patient.

- Covered biomedical equipment is identified.

- Prompt service is conducted on-site or in the workshop according to company procedures/guidelines.

CONTENTS:

- Communication skills.

- Effective data analysis.

- Effective work safety practices and time management.

- Use of computer and explain work procedures

- Principle of various mechanical, pneumatic, electronic and electrical and components used directly or indirectly in the covered basic biomedical equipment.

- Principle of operation, operating requirement, essential parts and functions of the covered basic biomedical equipment.

- Techniques to identify the covered basic biomedical equipment.

CONDITIONS:

The student/trainees must be provided with the following:

| EQUIPMENT | TOOLS AND ACCESSORIES | SUPPLIES AND MATERIALS | LEARNING MATERIALS |
| --- | --- | --- | --- |
| Weighing scale, infant/adult Suction apparatus OR/DR light Nebulizer Autoclave Infant incubator ECG machine Medical refrigerator and freezer | Pliers (assorted) Screwdrivers; (assorted) Soldering gun/iron Electric drill and assorted bits Tool kit Wrench and spanners Multi-tester Signal generator - Oscilloscope - Calibrators | Tape (assorted) Sealing materials Cables Wires Soldering lead | Operation manuals Service/ technical manual Installation manual Parts list manual Job report sheets |

METHODOLOGIES:

- Lecture

- Questioning

- On-the-job practice

ASSESSMENT METHODS:

- Observation

- Demonstration

- Third party report

- Return demonstration

LO2.	PREPARE UNIT/EQUIPMENT

ASSESSMENT CRITERIA:

- Complete assembly check-up and fault symptoms are conducted, identified, and  verified according to manufacturers manual

- Repair history is verified according to patient’s record.

- Service manuals and service information required for the corrective maintenance are made available at the beginning of the corrective maintenance activities.

- Workplace is cleaned in accordance with the institution procedure.

- Necessary tools, test instrument and personal protective equipment are prepared.

CONTENTS:

- Effective information gathering.

- Effective and efficient work and safety practices.

- Effective data analysis.

- Effective work safety practices and time management.

- Specification and proper use of tools

- Use of manuals

- Effective documentation

- Cleaning of work area

CONDITION:

The student/trainees must be provided with the following:

| EQUIPMENT | TOOLS AND ACCESSORIES | SUPPLIES AND MATERIALS | LEARNING MATERIALS |
| --- | --- | --- | --- |
| Weighing scale, infant/adult Suction apparatus OR/DR light Nebulizer Autoclave Infant incubator ECG machine Medical refrigerator and freezer | Pliers (assorted) Screwdrivers; (assorted) Soldering gun/iron Electric drill and assorted bits Tool kit Wrench and spanners Multi-tester Signal generator - Oscilloscope - Calibrators | Tape (assorted) Sealing materials Cables Wires Soldering lead | Operation manuals Service/ technical manual Installation manual Parts list manual Job report sheets |

METHODOLOGIES:

- Lecture

- Questioning

- On-the-job practice

ASSESSMENT METHODS:

- Observation

- Demonstration

- Third party report

- Return demonstration

LO3.	DIAGNOSE FAULTS

ASSESSMENT CRITERIA:

- Systematic pre-testing procedure is observed.

- System detect is identified using appropriate tools and test equipment.

- Accurate diagnosis is completed within the specified time frame.

- Fault/s, defects and range of the problems are properly and courteously explained to the patient.

CONTENTS:

- Human physiology and anatomy

- Block and schematic diagrams and other essential circuits

- Principles on the various mechanical, pneumatic, electronic and electrical components.

- Principle of operation, operating requirement, essential parts and functions of equipment.

- SOP in pre-testing

- Communication skills

- Different uses of computer

CONDITIONS:

The student/trainees must be provided with the following:

| EQUIPMENT | TOOLS AND ACCESSORIES | SUPPLIES AND MATERIALS | LEARNING MATERIALS |
| --- | --- | --- | --- |
| Weighing scale, infant/adult Suction apparatus OR/DR light Nebulizer Autoclave Infant incubator ECG machine Medical refrigerator and freezer | Pliers (assorted) Screwdrivers; (assorted) Soldering gun/iron Electric drill and assorted bits Tool kit Wrench and spanners Multi-tester Signal generator - Oscilloscope - Calibrators | Tape (assorted) Sealing materials Cables Wires Soldering lead | Operation manuals Service/ technical manual Installation manual Parts list manual Job report sheets |

METHODOLOGIES:

- Lecture

- Questioning

- On-the-job practice

ASSESSMENT METHODS:

- Observation

- Demonstration

- Third party report

- Return demonstration

LO4.	REPAIR BASIC BIOMEDICAL EQUIPMENT

ASSESSMENT CRITERIA:

- Safety equipment is used to protect self and others.

- Defective spare parts/components are replaced with equivalent and/or better performing spare parts/components.

- Repair and/or replaced parts/components are soldered in accordance to current best industry practice.

- Necessary circuit adjustment, re-calibration and testing procedure is conducted according to company’s standard operating procedures.

- Necessary modification, conversion of parts and/or circuits is applied.

- Spare parts substitution is in accordance with the manufacturer’s specification or equivalent.

- Corrective maintenance activity is accomplished within the required time frame.

- Care and extreme precaution in handling the unit is observed.

CONTENTS:

- Proper use of PPE

- Effective and efficient work, safety practices and time management.

- Effective data analysis.

- Human physiology and anatomy

- Block and schematic diagrams and other essential circuits

- Principle of operation, operating requirement, essential

- parts and functions of equipment.

- Principles of technical specification, reading and interpreting diagrams, troubleshooting technique, maintenance management, spare parts suppliers and list of technical people.

- Use of mathematics, physics, electrical, electronics, pneumatic, hydraulic, mechanical and other related subjects use to solve the technical problem.

- Proper distinctions of various types and models of equipment

- Proper handling of equipment

- SOP in testing  and re-calibration of equipment

- Use of test equipment and/ or instruments

- Clinical application of equipment/instruments/tools

CONDITIONS:

The student/trainees must be provided with the following:

| EQUIPMENT | TOOLS AND ACCESSORIES | SUPPLIES AND MATERIALS | LEARNING MATERIALS |
| --- | --- | --- | --- |
| Weighing scale, infant/adult Suction apparatus OR/DR light Nebulizer Autoclave Infant incubator ECG machine Medical refrigerator and freezer | Pliers (assorted) Screwdrivers; (assorted) Soldering gun/iron Electric drill and assorted bits Tool kit Wrench and spanners Multi-tester Signal generator - Oscilloscope - Calibrators | Tape (assorted) Sealing materials Cables Wires Soldering lead | Operation manuals Service/ technical manual Installation manual Parts list manual Job report sheets |

METHODOLOGIES:

- Lecture

- Questioning

- On-the-job practice

ASSESSMENT METHODS:

- Observation

- Demonstration

- Third party report

- Return demonstration

LO5.	REASSEMBLE AND TEST REPAIRED UNIT

ASSESSMENT CRITERIA:

- Performance and functional test is conducted immediately after re-assembly.

- Equipment status and performance is checked and ensured.

- Complete and accurate documentation is prepared according to company procedures.

- Tools and test instrument are cleaned and cared as per organizational procedure.

- Waste materials are disposed in accordance with hospital waste management and other environmental requirements

CONTENTS:

- Proper use of PPE

- Effective and efficient work, safety practices and time management.

- Effective data analysis.

- Human physiology and anatomy

- Block and schematic diagrams and other essential circuits

- Principle of operation, operating requirement, essential parts and functions of equipment.

- Principles of technical specification, reading and interpreting diagrams, troubleshooting technique, maintenance management, spare parts suppliers and list of technical people.

- Use of mathematics, physics, electrical, electronics, pneumatic, hydraulic, mechanical and other related subjects use to solve the technical problem.

- Proper distinctions of various types and models of equipment

- Proper handling of equipment

- SOP in testing  and re-assembly of equipment

- Effective documentation

- Use of computer and explain work procedures

- Proper disposal of waste

CONDITIONS:

The student/trainees must be provided with the following:

| EQUIPMENT | TOOLS AND ACCESSORIES | SUPPLIES AND MATERIALS | LEARNING MATERIALS |
| --- | --- | --- | --- |
| Weighing scale, infant/adult Suction apparatus OR/DR light Nebulizer Autoclave Infant incubator ECG machine Medical refrigerator and freezer | Pliers (assorted) Screwdrivers; (assorted) Soldering gun/iron Electric drill and assorted bits Tool kit Wrench and spanners Multi-tester Signal generator - Oscilloscope - Calibrators | Tape (assorted) Sealing materials Cables Wires Soldering lead | Operation manuals Service/ technical manual Installation manual Parts list manual Job report sheets |

METHODOLOGIES:

- Lecture

- Questioning

- On-the-job practice

ASSESSMENT METHODS:

- Observation

- Demonstration

- Third party report

- Return demonstration

LO6.	RE-COMMISSION BASIC BIOMEDICAL EQUIPMENT

ASSESSMENT CRITERIA:

- Basic biomedical equipment and its immediate surrounding are cleaned as per company’s standard operating procedures.

- Appropriate staff is communicated on the status of the equipment.

CONTENTS:

- Efficient work and safety practices.

- Communication skills

- Cleaning of work area

- Technical report writing

CONDITIONS:

The student/trainees must be provided with the following:

- Workplace location

- Paper

- Pencils/ball pen

- Telephone

- Cleaning materials

METHODOLOGIES:

- Lecture

- Questioning

- On-the-job practice

ASSESSMENT METHODS:

- Observation

- Demonstration

- Third party report

- Return demonstration

LO7.	PERFORM AND MAINTAIN BASIC BIOMEDICAL EQUIPMENT CORRECTIVE MAINTENANCE DOCUMENTATION

ASSESSMENT CRITERIA:

- Health care equipment corrective maintenance form and other relevant reports are accomplished in strict observance of institution standards.

- Reports are submitted to proper officer/offices.

- Corrective Maintenance documents are systematically kept and updated as per company’s standard operating procedures

CONTENTS:

- Proper documentation

- Communication skills

- Systematic filing of reports

- Accomplishment of forms/reports

CONDITIONS:

The student/trainees must be provided with the following:

- Workplace location

- Paper

- Pencils/ball pen

- Telephone

- Filing cabinet

- Different forms

METHODOLOGIES:

- Lecture

- Questioning

- On-the-job practice

ASSESSMENT METHODS:

- Observation

- Demonstration

- Third party report

- Return demonstration

UNIT OF COMPETENCY	: 	PERFORM PREVENTIVE MAINTENANCE ON BIOMEDICAL EQUIPMENT

MODULE TITLE	: 	PERFORMING PREVENTIVE MAINTENANCE ON BIOMEDICAL EQUIPMENT

MODULE DESCRIPTOR	: 	This module covers the knowledge, skills and attitudes required in conducting preventive maintenance

NOMINAL DURATION	: 	200 hours

QUALIFICATION LEVEL	:	NC II

SUMMARY OF LEARNING OUTCOMES

Upon completion of the module the trainees/students must be able to:

LO1.	Prepares preventive maintenance protocol

LO2.	Implements preliminary preventive maintenance protocol

LO3.	Perform electrical safety testing

LO4.	Perform basic biomedical equipment functional test.

LO5.	Check and perform basic biomedical equipment calibration

LO6.	Re-commission basic biomedical equipment

LO7.	Perform and maintain basic biomedical equipment preventive maintenance documentation.

LO1.	PREPARES PREVENTIVE MAINTENANCE PROTOCOL

ASSESSMENT CRITERIA:

- Covered biomedical equipment and accessories is identified.

- Update basic biomedical equipment inventory on the covered BBE is secured and used as reference for preventive maintenance preparation.

- Repair history and equipment consumables are verified.

- Appropriate forms, equipment, tools, and protective equipment are secured from appropriate personnel.

CONTENTS:

- Specification and proper use of tools

- Clinical application of equipment/instruments/tools

- Communication skills

- Biomedical equipment and accessories

- Proper use of PPE

- Secured forms

- Preventive maintenance of biomedical equipment

CONDITIONS:

The student/trainees must be provided with the following:

| EQUIPMENT | TOOLS AND ACCESSORIES | SUPPLIES AND MATERIALS | LEARNING MATERIALS |
| --- | --- | --- | --- |
| Weighing scale, infant/adult Suction apparatus OR/DR light Nebulizer Autoclave Infant incubator ECG machine Medical refrigerator and freezer | Pliers (assorted) Screwdrivers; (assorted) Soldering gun/iron Electric drill and assorted bits Tool kit Wrench and spanners Multi-tester Signal generator - Oscilloscope - Calibrators | Tape (assorted) Sealing materials Cables Wires Soldering lead | Operation manuals Service/ technical manual Installation manual Parts list manual Job report sheets |

METHODOLOGIES:

- Lecture

- Questioning

- On-the-job practice

ASSESSMENT METHODS:

- Observation

- Demonstration

- Third party report

- Return demonstration

LO2.	IMPLEMENTS PRELIMINARY PREVENTIVE MAINTENANCE PROTOCOL

ASSESSMENT CRITERIA:

- Preventive maintenance program is properly communicated with appropriate personnel.

- Immediate surrounding of covered BBE is secured from unnecessary hazards.

- Performed basic biomedical equipment ocular inspection according to company’s standard operating procedures.

- Basic biomedical equipment is cleaned and sanitized following OSH policies and procedures

CONTENTS:

- Communication skills

- OSH policy and guidelines

- Ocular inspection of BBE

- Cleaning and sanitizing of BBE

CONDITIONS:

The student/trainees must be provided with the following:

| EQUIPMENT | TOOLS AND ACCESSORIES | SUPPLIES AND MATERIALS | LEARNING MATERIALS |
| --- | --- | --- | --- |
| Weighing scale, infant/adult Suction apparatus OR/DR light Nebulizer Autoclave Infant incubator ECG machine Medical refrigerator and freezer | Pliers (assorted) Screwdrivers; (assorted) Soldering gun/iron Electric drill and assorted bits Tool kit Wrench and spanners Multi-tester Signal generator - Oscilloscope - Calibrators | Tape (assorted) Sealing materials Cables Wires Soldering lead | Operation manuals Service/ technical manual Installation manual Parts list manual Job report sheets |

METHODOLOGIES:

- Lecture

- Questioning

- On-the-job practice

ASSESSMENT METHODS:

- Observation

- Demonstration

- Third party report

- Return demonstration

LO3.	PERFORM ELECTRICAL SAFETY TESTING

ASSESSMENT CRITERIA:

- Set-up appropriate test equipment according to standard operating procedures

- Line voltage, ground resistance and current leakage of the covered BBE are measured according to Philippine electrical code.

- Electrical safety test results with equipment are analyzed.

- Electrical faults are corrected.

CONTENTS:

- AC/DC power supplies

- Operational amplifiers

- Digital electronics

- Proper use of test equipment/instrument

- Philippine electrical code

CONDITIONS:

The student/trainees must be provided with the following:

| EQUIPMENT | TOOLS AND ACCESSORIES | SUPPLIES AND MATERIALS | LEARNING MATERIALS |
| --- | --- | --- | --- |
| Weighing scale, infant/adult Suction apparatus OR/DR light Nebulizer Autoclave Infant incubator ECG machine Medical refrigerator and freezer | Pliers (assorted) Screwdrivers; (assorted) Soldering gun/iron Electric drill and assorted bits Tool kit Wrench and spanners Multi-tester Signal generator - Oscilloscope - Calibrators | Tape (assorted) Sealing materials Cables Wires Soldering lead | Operation manuals Service/ technical manual Installation manual Parts list manual Job report sheets |

METHODOLOGIES:

- Lecture

- Questioning

- On-the-job practice

ASSESSMENT METHODS:

- Observation

- Demonstration

- Third party report

- Return demonstration

LO4.	PERFORM BASIC BIOMEDICAL EQUIPMENT FUNCTIONAL TEST

ASSESSMENT CRITERIA:

- Equipment and start-up is set-up operation according to manufacturer’s manual.

- Equipment controls are set in accordance with test standard.

- Controls and start up signals are checked.

- BBE operation protocols are simulated.

- Equipment lubrication is done.

- Accessories of the covered BBE are inspected and set-up.

- Appropriate equipment consumables are replaced.

- Functional test is completed within the specified time.

CONTENTS:

- Procedure in health care equipment functional test

- BBE operations protocol

- BBE accessories and consumables

CONDITIONS:

The student/trainees must be provided with the following:

| EQUIPMENT | TOOLS AND ACCESSORIES | SUPPLIES AND MATERIALS | LEARNING MATERIALS |
| --- | --- | --- | --- |
| Weighing scale, infant/adult Suction apparatus OR/DR light Nebulizer Autoclave Infant incubator ECG machine Medical refrigerator and freezer | Pliers (assorted) Screwdrivers; (assorted) Soldering gun/iron Electric drill and assorted bits Tool kit Wrench and spanners Multi-tester Signal generator - Oscilloscope - Calibrators | Tape (assorted) Sealing materials Cables Wires Soldering lead | Operation manuals Service/ technical manual Installation manual Parts list manual Job report sheets |

METHODOLOGIES:

- Lecture

- Questioning

- On-the-job practice

ASSESSMENT METHODS:

- Observation

- Demonstration

- Third party report

- Return demonstration

LO5.	CHECK AND PERFORM BASIC BIOMEDICAL EQUIPMENT CALIBRATION.

ASSESSMENT CRITERIA:

- Appropriate calibration procedures and parameters are determined according to standard operating procedures.

- Calibration equipment is set-up according to manufacturer’s manual.

- Basic biomedical equipment operation is simulated.

- Calibration controls are crossed checked and verified according to manufacturer’s manual.

- Necessary adjustments are made.

- Basic biomedical equipment is subjected to final test.

CONTENTS:

- Calibration procedures and parameters

- Procedure in setting up calibration equipment

- Proper use of test equipment/instrument

- BBE operations protocol

- Procedure for testing

CONDITIONS:

The student/trainees must be provided with the following:

| EQUIPMENT | TOOLS AND ACCESSORIES | SUPPLIES AND MATERIALS | LEARNING MATERIALS |
| --- | --- | --- | --- |
| Weighing scale, infant/adult Suction apparatus OR/DR light Nebulizer Autoclave Infant incubator ECG machine Medical refrigerator and freezer | Pliers (assorted) Screwdrivers; (assorted) Soldering gun/iron Electric drill and assorted bits Tool kit Wrench and spanners Multi-tester Signal generator - Oscilloscope - Calibrators | Tape (assorted) Sealing materials Cables Wires Soldering lead | Operation manuals Service/ technical manual Installation manual Parts list manual Job report sheets |

METHODOLOGIES:

- Lecture

- Questioning

- On-the-job practice

ASSESSMENT METHODS:

- Observation

- Demonstration

- Third party report

- Return demonstration

LO6.	RE-COMMISSION BASIC BIOMEDICAL EQUIPMENT

ASSESSMENT CRITERIA:

- Reassembled basic biomedical equipment are subjected to final testing.

- Basic biomedical equipment and its immediate surrounding are cleaned

- Appropriate staff is communicated on the preventive maintenance procedure to be done.

CONTENTS:

- Proper use of test equipment/instrument

- Worksite cleaning

- Proper care and  cleaning of instruments

- Preventive maintenance procedures

CONDITIONS:

The student/trainees must be provided with the following:

| EQUIPMENT | TOOLS AND ACCESSORIES | SUPPLIES AND MATERIALS | LEARNING MATERIALS |
| --- | --- | --- | --- |
| Weighing scale, infant/adult Suction apparatus OR/DR light Nebulizer Autoclave Infant incubator ECG machine Medical refrigerator and freezer | Pliers (assorted) Screwdrivers; (assorted) Soldering gun/iron Electric drill and assorted bits Tool kit Wrench and spanners Multi-tester Signal generator - Oscilloscope - Calibrators | Tape (assorted) Sealing materials Cables Wires Soldering lead | Operation manuals Service/ technical manual Installation manual Parts list manual Job report sheets |

METHODOLOGIES:

- Lecture

- Questioning

- On-the-job practice

ASSESSMENT METHODS:

- Observation

- Demonstration

- Third party report

- Return demonstration

LO7.	PERFORM AND MAINTAIN BASIC BIOMEDICAL EQUIPMENT PREVENTIVE MAINTENANCE DOCUMENTATION

ASSESSMENT CRITERIA:

- Basic biomedical equipment checklist forms and other preventive maintenance documents are accomplished

- Reports are submitted to proper officer/office.

- Preventive maintenance documents are  systematically kept and updated

CONTENTS:

- Proper documentation

- Communication skills

- Systematic filing of reports

- Accomplishment of forms/reports

CONDITIONS:

The student/trainees must be provided with the following:

- Workplace location

- Paper

- Pencils/ball pen

- Telephone

- Filing cabinet

- Different forms

METHODOLOGIES:

- Lecture

- Questioning

- On-the-job practice

ASSESSMENT METHODS:

- Observation

- Demonstration

- Third party report

- Return demonstration

UNIT OF COMPETENCY	: 	REPAIR BIOMEDICAL EQUIPMENT

MODULE TITLE	: 	REPAIRING BIOMEDICAL EQUIPMENT

MODULE DESCRIPTOR	: 	This module covers the knowledge, skills and attitudes necessary to repair biomedical equipment related to patient care.

NOMINAL DURATION	: 	230 hours

QUALIFICATION LEVEL	:	NC II

SUMMARY OF LEARNING OUTCOMES

Upon completion of the module the trainees/students must be able to:

LO1.	Inspect equipment for repair

LO2.	Plan and prepare for repair

LO3.	Repair equipment

LO4.	Inspect the test equipment

LO1.	INSPECT EQUIPMENT FOR REPAIR

ASSESSMENT CRITERIA:

- Equipment for repair is identified.

- Equipment for repair is sorted and classified.

- Equipment for repair is prioritized.

CONTENTS:

- Specifications and proper use of tools

- Use of test equipment and/ or instruments

- Clinical application of equipment/instruments/tools

CONDITIONS:

The student/trainees must be provided with the following:

| EQUIPMENT | TOOLS AND ACCESSORIES | SUPPLIES AND MATERIALS | LEARNING MATERIALS |
| --- | --- | --- | --- |
| Weighing scale, infant/adult Suction apparatus OR/DR light Nebulizer Autoclave Infant incubator ECG machine Medical refrigerator and freezer | Pliers (assorted) Screwdrivers; (assorted) Soldering gun/iron Electric drill and assorted bits Tool kit Wrench and spanners Multi-tester Signal generator - Oscilloscope - Calibrators | Tape (assorted) Sealing materials Cables Wires Soldering lead | Operation manuals Service/ technical manual Installation manual Parts list manual Job report sheets |

METHODOLOGIES:

- Lecture

- Questioning

- On-the-job practice

ASSESSMENT METHODS:

- Observation

- Demonstration

- Third party report

- Return demonstration

LO2.	PLAN AND PREPARE FOR REPAIR

ASSESSMENT CRITERIA

- Repair is planned and prepared in line with job requirements.

- OSH policies and procedures are followed

- Equipment is checked against specification and requirements.

- Materials and supplies necessary to complete the work are obtained i and checked against job requirements

- Tools, equipment and testing devices needed to carry out the work are obtained  and checked for correct operation and safety

CONTENTS:

- Specifications and proper use of tools

- Use of test equipment and/ or instruments

- Clinical application of equipment/instruments/tools

- OSH policies and procedures

- Work job request form

CONDITIONS:

The student/trainees must be provided with the following:

| EQUIPMENT | TOOLS AND ACCESSORIES | SUPPLIES AND MATERIALS | LEARNING MATERIALS |
| --- | --- | --- | --- |
| Weighing scale, infant/adult Suction apparatus OR/DR light Nebulizer Autoclave Infant incubator ECG machine Medical refrigerator and freezer | Pliers (assorted) Screwdrivers; (assorted) Soldering gun/iron Electric drill and assorted bits Tool kit Wrench and spanners Multi-tester Signal generator - Oscilloscope - Calibrators | Tape (assorted) Sealing materials Cables Wires Soldering lead | Operation manuals Service/ technical manual Installation manual Parts list manual Job report sheets |

METHODOLOGIES:

- Lecture

- Questioning

- On-the-job practice

ASSESSMENT METHODS:

- Observation

- Demonstration

- Third party report

- Return demonstration

LO3.	REPAIR EQUIPMENT

ASSESSMENT CRITERIA:

- Appropriate personal protective equipment is used.

- Normal function of equipment is checked according to manufacturer’s manual

- Fault or problem in the equipment is diagnosed in line with the standard operating procedures.

- The most cost-effective repair solution is determined.

- Equipment is repaired or replaced in line with company standard.

CONTENTS:

- Specifications and proper use of tools

- Use of test equipment and/ or instruments

- Clinical application of equipment/instruments/tools

- OSH policies and procedures

- Troubleshooting biomedical equipment

  - Wiring techniques

  - Drawing interpretation and sketching

  - Reading skills

  - Communication skills

  - Problem solving in emergency situation

CONDITIONS:

The student/trainees must be provided with the following:

| EQUIPMENT | TOOLS AND ACCESSORIES | SUPPLIES AND MATERIALS | LEARNING MATERIALS |
| --- | --- | --- | --- |
| Weighing scale, infant/adult Suction apparatus OR/DR light Nebulizer Autoclave Infant incubator ECG machine Medical refrigerator and freezer | Pliers (assorted) Screwdrivers; (assorted) Soldering gun/iron Electric drill and assorted bits Tool kit Wrench and spanners Multi-tester Signal generator - Oscilloscope - Calibrators | Tape (assorted) Sealing materials Cables Wires Soldering lead | Operation manuals Service/ technical manual Installation manual Parts list manual Job report sheets |

METHODOLOGIES:

- Lecture

- Questioning

- On-the-job practice

ASSESSMENT METHODS:

- Observation

- Demonstration

- Third party report

- Return demonstration

LO4.	INSPECT THE TEST EQUIPMENT

ASSESSMENT CRITERIA:

- Final inspections are undertaken

- Equipment is checked to ensure safe operation.

- Unplanned events or conditions are responded

- Work site is cleaned and cleared of all debris

- Report is prepared/completed according to company requirements

- Equipment is endorsed to appropriate end user

CONTENTS:

- Specifications and proper use of tools

- Use of test equipment and/ or instruments

- Clinical application of equipment/instruments/tools

- Report preparation

- Communication skills

- Cleaning of work area

- Inspecting the test equipment

CONDITIONS:

The student/trainees must be provided with the following:

| EQUIPMENT | TOOLS AND ACCESSORIES | SUPPLIES AND MATERIALS | LEARNING MATERIALS |
| --- | --- | --- | --- |
| Weighing scale, infant/adult Suction apparatus OR/DR light Nebulizer Autoclave Infant incubator ECG machine Medical refrigerator and freezer | Pliers (assorted) Screwdrivers; (assorted) Soldering gun/iron Electric drill and assorted bits Tool kit Wrench and spanners Multi-tester Signal generator - Oscilloscope - Calibrators | Tape (assorted) Sealing materials Cables Wires Soldering lead | Operation manuals Service/ technical manual Installation manual Parts list manual Job report sheets |

METHODOLOGIES:

- Lecture

- Questioning

- On-the-job practice

ASSESSMENT METHODS:

- Observation

- Demonstration

- Third party report

- Return demonstration

UNIT OF COMPETENCY	: 	ASSESS AND REFER BIOMEDICAL EQUIPMENT

MODULE TITLE	: 	ASSESSING AND REFERING BIOMEDICAL EQUIPMENT

MODULE DESCRIPTOR	: 	This module covers the knowledge, skills and attitudes     required in the assessment and referral of biomedical equipment.

NOMINAL DURATION	: 	60 hours

QUALIFICATION LEVEL	:	NC II

SUMMARY OF LEARNING OUTCOMES

Upon completion of the module the trainees/students must be able to:

LO1.	Plan and prepare

LO2.	Assess faults / defects

LO3 	Refer for re-assessment / repair

LO1.	PLAN AND PREPARE

ASSESSMENT CRITERIA

- Identification of equipment faults/defects is planned and prepared in line with job requirements.

- Occupational safety and health (OSH) policies and procedures needed are followed

- Materials necessary to complete the work are obtained and checked against job requirements

- Appropriate personnel are consulted to ensure that the work is effectively coordinated

- Tools, equipment and testing devices needed to carry out the work are obtained and checked for proper operation and safety

- System and equipment defects are checked according to checklist

CONTENTS:

- Checklist of biomedical equipment possible faults/defects

- OSH policies and procedures

- Work planning

- Use of BBE tools, equipment and testing devices

CONDITIONS:

The student/trainees must be provided with the following:

| EQUIPMENT | TOOLS AND ACCESSORIES | SUPPLIES AND MATERIALS | LEARNING MATERIALS |
| --- | --- | --- | --- |
| Weighing scale, infant/adult Suction apparatus OR/DR light Nebulizer Autoclave Infant incubator ECG machine Medical refrigerator and freezer | Pliers (assorted) Screwdrivers; (assorted) Soldering gun/iron Electric drill and assorted bits Tool kit Wrench and spanners Multi-tester Signal generator - Oscilloscope - Calibrators | Tape (assorted) Sealing materials Cables Wires Soldering lead | Operation manuals Service/ technical manual Installation manual Parts list manual Job report sheets |

METHODOLOGIES:

- Lecture

- Questioning

- On-the-job practice

ASSESSMENT METHODS:

- Observation

- Demonstration

- Third party report

- Return demonstration

LO2.	ASSESS FAULTS / DEFECTS

ASSESSMENT CRITERIA

- Appropriate personal protective equipment (PPE) is used

- Equipment faults/defects are assessed based on checklist

- Contingency measures are managed and implemented according company’s standard operating procedures

- Unplanned events or conditions are responded according to company policies/guidelines

CONTENTS:

- Use of PPE

- Assessment of faults and defects

- Implementing and managing contingency measures

- OSH policies and procedures

CONDITIONS:

The student/trainees must be provided with the following:

| EQUIPMENT | TOOLS AND ACCESSORIES | SUPPLIES AND MATERIALS | LEARNING MATERIALS |
| --- | --- | --- | --- |
| Weighing scale, infant/adult Suction apparatus OR/DR light Nebulizer Autoclave Infant incubator ECG machine Medical refrigerator and freezer | Pliers (assorted) Screwdrivers; (assorted) Soldering gun/iron Electric drill and assorted bits Tool kit Wrench and spanners Multi-tester Signal generator - Oscilloscope - Calibrators | Tape (assorted) Sealing materials Cables Wires Soldering lead | Operation manuals Service/ technical manual Installation manual Parts list manual Job report sheets |

METHODOLOGIES:

- Lecture

- Questioning

- On-the-job practice

ASSESSMENT METHODS:

- Observation

- Demonstration

- Third party report

- Return demonstration

LO3.	REFER FOR RE- ASSESSMENT/REPAIR

ASSESSMENT CRITERIA

- Necessary report is prepared according to company requirements

- Where applicable, details of referrals (e.g. name, company, specialization) are identified based on equipment assessment

- Appropriate personnel is identified and informed regarding assessment findings

- Report is submitted according to company standard

CONTENTS:

- Preparation and submission of report

- Communication skills

- Equipment identification

CONDITIONS:

The student/trainees must be provided with the following:

| EQUIPMENT | TOOLS AND ACCESSORIES | SUPPLIES AND MATERIALS | LEARNING MATERIALS |
| --- | --- | --- | --- |
| Weighing scale, infant/adult Suction apparatus OR/DR light Nebulizer Autoclave Infant incubator ECG machine Medical refrigerator and freezer | Pliers (assorted) Screwdrivers; (assorted) Soldering gun/iron Electric drill and assorted bits Tool kit Wrench and spanners Multi-tester Signal generator - Oscilloscope - Calibrators | Tape (assorted) Sealing materials Cables Wires Soldering lead | Operation manuals Service/ technical manual Installation manual Parts list manual Job report sheets |

METHODOLOGIES:

- Lecture

- Questioning

- On-the-job practice

ASSESSMENT METHODS:

- Observation

- Demonstration

- Third party report

- Return demonstration

# What is Competency-Based Curriculum (CBC)

- A competency-based curriculum is a framework or guide for the subsequent detailed development of competencies, associated methodologies, training and assessment resources.

- The CBC specifies the outcomes which are consistent with the requirements of the workplace as agreed through the industry or community consultations.

- CBC can be developed immediately when competency standards exist.

- When competency standards do not exist, curriculum developers need to clearly define the learning outcomes to be attained. The standard of performance required must be appropriate to industry and occupational needs through the industry/enterprise or specified client group consultations.

These materials are available in both printed and electronic copies.

For more information please contact:

Technical Education and Skills Development Authority (TESDA)

Telephone Nos.: 893-8281, 817-4076 to 82 loc. 611, 630, 631 and 635 or visit our website: www.tesda.gov.ph or the TESDA Regional or Provincial Office nearest you.